## BCA-Showerhead BCA
Cost Per Household for Showerheads | Data | Basis, Sources, Notes
Current Code - 2.5 gallon per minute showerhead | 44.48 | Average retail price information gathered by the District
Proposed Code - 2.0 gallon per minute showerhead | 51.58 | Average retail price information gathered by the District
Increased Cost Per Showerhead | 7.1 | Difference between product cost under the current code and proposed code
Average # of Showers Per New Home | 2.36 | Average based on 2020 NAHB data on number of bathrooms in new homes
Cost per Household of Proposed Change | 16.756 | Upfront cost; current and proposed showerheads involve no difference in labor costs
Annual Avoided Water Use Per Household
Current Code Showerhead in gallons per minute | 2.5
Proposed Code Showerhead in gallons per minute | 2
Annual Minutes of Usage per Household | 5334.1246 | 8.2min/shower x 0.67 shower/person/d x 2.66 persons/house x 365 d - WaterSense Specification for Showerheads Supporting Statement, Mar 2010
Annual Avoided Water Use per Household (gal) | 2667.0623
Annual Avoided Natural Gas Use per Household |  | Basis, Sources, Notes
Water Heater Energy Source | Gas | Assumed because gas is most common hot water heating source in the District
Hot Water Portion of Water Use | 73% | WaterSense Specification for Showerheads Supporting Statement, Mar 2010
Hot Water Energy Use Rate (therm/gal) | 0.009 | Equation 9 from WaterSense Specification for Showerheads Supporting Statement, March 2010
Annual Avoided Energy Use per Household (therm) | 17.5226
Assumptions for Present Value Calculations |  | Basis, Sources, Notes
Product Useful Life | 15 | Estimate from US Housing and Urban Development Capital Needs Assessment e-Tool Estimated Useful Life Table
Discount Rate | 3% | Rate used by federal government in cost-benefit analysis when cost of regulation affects household consumption. See OMB's Circular A-4.
Benefits per Household | Present Value
Avoided H20 Capacity Cost | 31.4933 | See H20 Capacity Cost Tab
Avoided H20 Variable Production Cost | 20.7135 | See H20 Variable Production Cost tab
Avoided Natural Gas Retail Cost | 163.0209 | See Natural Gas Cost tab
Direct Benefits-to-Cost Ratio | 12.8448
Avoided Natural Gas C02 Emissions Cost | 71.0454 | See Natural Gas Cost tab
Avoided H20 Embedded C02 Emissions Cost | 2.8931 | See H20 Embedded C02 Emissions tab
Avoided Air Quality Costs | 1.3069 | See Air Quality Costs tab
Direct+Indirect Benefits-to-Cost Ratio | 17.3355
Simple Payback to Customer
Cost per Household of Proposed Change | 16.756
Annual Avoided Water Use per Household (gal) | 2667.0623
Combined Water and Sewer Rate ($/1,000 gal) | 14.4735 | See Water&Sewer Retail Cost Tab
Annual Water and Sewer Cost Savings to Customer | 38.6016
Annual Avoided Energy Use per Household (therm) | 17.5226
Natural Gas Cost ($/therm) | 0.6162 | See Natural Gas Retail Cost Tab
Annual Natural Gas Cost Savings to Customer | 10.7974
Simple Payback to Customer (Years) | 0.3392

## BCA-Res Clothes Washer FL
Cost Per Household for Residential Clothes Washer - Front Loaders |  | Basis, Sources, Notes
Current Code - DOE Standard | 942.49 | Average retail price information gathered by the District
Proposed Code - Energy Star | 997.16 | Average retail price information gathered by the District
Cost per Household of Proposed Change | 54.67 | Difference between product cost under the current code and proposed code
Annual Avoided Water Use Per Household
Unit Size (ft^3) | 4.5 | Assumed mid-range size. DOE metric for energy efficiency is integrated water factor (IWF), which is (gal/cycle/cu.ft.)
DOE Standard - gal per load at 4 ft^3 | 21.15 | Max IWF of 4.7 per DOE standard
EnergyStar Standard - gal per load at 4 ft^3 | 14.4 | Max IWF of 3.2 per EnergyStar Version 8.1 Clothes Washer Program
Loads Per year | 291.27 | 0.3 loads/person/d x 2.66 persons/house x 365 d/yr, Res Kitchen&Laundry, EPA WaterSense, Nov 2017
Annual Avoided Water Use per Household (gal) | 1966.0725
Annual Avoided Electricity Use per Household |  | Basis, Sources, Notes
Unit Size (ft^3) | 4.5 | Assumed mid-range size. DOE metric for energy efficiency is integrated modified energy factor (IMEF), which is cu.ft./kWh/cycle
DOE Standard - kWh per load at 4 ft^3 | 2.4457 | Min IMEF of 1.84 per DOE standard
EnergyStar Standard - kWh per load at 4 ft^3 | 1.6304 | Min IMEF of 2.76 per EnergyStar Version 8.1 Clothes Washer Program
Loads Per year | 291.27
Annual Avoided Electricity Use per Household (kWh) | 237.4484
Assumptions for Present Value Calculations |  | Basis, Sources, Notes
Product Useful Life | 11 | US EPA Consumer Messaging Guide for Energy Star Certified Appliances
Discount Rate | 3% | Rate used by federal government in cost-benefit analysis when cost of regulation affects household consumption. See OMB's Circular A-4.
Benefits per Household | Present Value
Avoided H20 Capacity Cost | 23.2158 | See H20 Capacity Cost Tab
Avoided H20 Variable Production Cost | 10.6733 | See H20 Variable Production Cost tab
Avoided Electricity Retail Cost | 154.7321 | See Electricity Retail Cost tab
Direct Benefits-to-Cost Ratio | 3.4502
Avoided Electricity C02 Emissions Cost | 94.4449 | See Electricity Cost Tab
Avoided H20 Embedded C20 Emissions Cost | 1.564 | See H20 Embedded C02 Emissions tab
Avoided Air Quality Costs | 42.6616 | See Air Quality Costs tab
Direct+Indirect Benefits-to-Cost Ratio | 5.9867
Simple Payback to Customer
Cost per Household of Proposed Change | 54.67
Annual Avoided Water Use per Household (gal) | 1966.0725
Combined Water and Sewer Rate ($/1,000 gal) | 14.4735 | See Water&Sewer Retail Cost Tab
Annual Water and Sewer Cost Savings to Customer | 28.4559
Annual Avoided Electricity Use per Household (kWh) | 237.4484
Retail Electricity Cost ($ / kWh) | 0.064 | See Electricity Retail Cost Tab
Annual Electricity Cost Savings to Customer | 15.1967
Simple Payback to Customer (Years) | 1.2524

## BCA-Res Clothes Washer TL
Cost Per Household for Residential Clothes Washer - Top Loaders |  | Basis, Sources, Notes
Current Code - DOE Standard | 707.05 | Average retail price information gathered by the District
Proposed Code - Energy Star | 926.65 | Average retail price information gathered by the District
Cost per Household of Proposed Change | 219.6 | Difference between product cost under the current code and proposed code
Annual Avoided Water Use Per Household
Unit Size (ft^3) | 4.5 | Used medium capacity. DOE metric for energy efficiency is integrated water factor (IWF), which is (gal/cycle/cu.ft.)
DOE Standard - gal per load at 4 ft^3 | 29.25 | Max IWF of 6.5 per DOE standard
EnergyStar Standard - gal per load at 4 ft^3 | 19.35 | Max IWF of 4.3 per EnergyStar Version 8.1 Clothes Washer Program
Loads Per year | 291.27 | 0.3 loads/person/d x 2.66 persons/house x 365 d/yr, Res Kitchen&Laundry, EPA WaterSense, Nov 2017
Annual Avoided Water Use per Household (gal) | 2883.573
Annual Avoided Electrcity Use per Household |  | Basis, Sources, Notes
Unit Size (ft^3) | 4.5 | Used medium capacity. DOE metric for energy efficiency is integrated modified energy factor (IMEF), which is cu.ft./kWh/cycle
DOE Standard - kWh per load at 4 ft^3 | 2.8662 | Min IMEF of 1.57 per DOE standard
EnergyStar Standard - kWh per load at 4 ft^3 | 2.1845 | Min IMEF of 2.06 per EnergyStar Version 8.1 Clothes Washer Program
Loads Per year | 291.27
Annual Avoided Electricity Use per Household (kWh) | 198.5809
Assumptions for Present Value Calculations |  | Basis, Sources, Notes
Product Useful Life | 11 | US EPA Consumer Messaging Guide for Energy Star Certified Appliances
Discount Rate | 3% | Rate used by federal government in cost-benefit analysis when cost of regulation affects household consumption. See OMB's Circular A-4.
Benefits per Household | Present Value
Avoided H20 Capacity Cost | 34.0499 | See H20 Capacity Cost Tab
Avoided H20 Variable Production Cost | 15.6542 | See H20 Variable Production Cost tab
Avoided Electricity Retail Cost | 129.4043 | See Electricity Retail Cost tab
Direct Benefits-to-Cost Ratio | 0.81561
Avoided Electricity C02 Emissions Cost | 78.9854 | See Electricity Cost Tab
Avoided H20 Embedded C20 Emissions Cost | 2.2939 | See H20 Embedded C02 Emissions tab
Avoided Air Quality Costs | 35.6784 | See Air Quality Costs tab
Direct+Indirect Benefits-to-Cost Ratio | 1.3482
Simple Payback to Customer
Cost per Household of Proposed Change | 219.6
Annual Avoided Water Use per Household (gal) | 2883.573
Combined Water and Sewer Rate ($/1,000 gal) | 14.4735 | See Water&Sewer Retail Cost Tab
Annual Water and Sewer Cost Savings to Customer | 41.7353
Annual Avoided Electricity Use per Household (kWh) | 198.5809
Retail Electricity Cost ($ / kWh) | 0.064 | See Electricity Retail Cost Tab
Annual Electricity Cost Savings to Customer | 12.7092
Simple Payback to Customer (Years) | 4.0335

## BCA-Com HVAC Cooling Towers
Cost of Added Features HVAC Cooling Tower | Data | Basis, Sources, Notes
Cost New Blowdown Controller | 1400 | Escalated from costs cited in Cooling Tower Water Savings, California Utilities Statewide Codes and Standards Team, October 2011, which includes labor costs
Conductivity Sensor (3 over 10 years) | 600
Makeup Water Flow Meter | 800
Blowdown Water Flow Meter | 800
Overflow Alarm | 400
Total Added Cost of Proposed Features | 4000
Annual Avoided Water Use per HVAC Cooling Tower
Cooling Tower Load (tons) | 350 | Load ~ 0.25 to 1 ton/100 SF floor area. 1 ton = 15,000 Btu/hr
Evaporation Rate (gpm) | 10.5 | Assumes typical value of 0.03 gpm/ton (based on 1 lb evaporation removes 1000 Btu).
Recirculation Rate (gpm) | 1050.4202 | Assumes 10 deg F of water cooling and 8.33 Btu/gal/deg F (Based on 1 btu = heat to raise 1 lb water by 1 deg F)
Drift Percentage | 0.005%
Drift Rate (gpm) | 0.052521
Makeup Water TDS (mg/L) | 150 | Estimate based on low hardness in Atlanta region plus treatment chemicals
Cooling Days Per Year | 120 | June, July, August, and September
Initial Blowdown Water Hardness (mg/L) | 500 | Based on assumed 5 cycles of concentration
Initial Cycles to Concentration | 5
Initial Blowdown Water Rate (gpm) | 2.5725 | https://spxcooling.com/wp-content/uploads/AE-AS-24-1.pdf
Initial Makeup Water Rate | 13.125 | https://spxcooling.com/wp-content/uploads/AE-AS-24-1.pdf
Improved Blowdown Water Hardness (mg/L) | 1500 | Proposed target for standard
Improved Cycles to Concentration (gpm) | 10
Improved Blowdown Water Rate | 1.1141 | https://spxcooling.com/wp-content/uploads/AE-AS-24-1.pdf
Improved Makeup Water Rate | 11.6667
Annual Avoided Water Use per HVAC Cooling Tower(gal) | 252000
Assumptions for Present Value Calculations |  | Basis, Sources, Notes
Product Useful Life | 10
Discount Rate | 3% | Rate used by federal government in cost-benefit analysis when cost of regulation affects household consumption. See OMB's Circular A-4.
Benefits per HVAC Cooling Tower | Present Value
Avoided H20 Capacity Cost | 9051 | See H20 Capacity Cost Tab
Avoided H20 Variable Production Cost | 1228.991 | See H20 Variable Production Cost tab
Direct Benefits-to-Cost Ratio | 2.57
Avoided H20 Embedded C02 Emissions Cost | 182.2414 | See H20 Embedded C02 Emissions tab
Avoided Air Quality Costs | 82.32 | See Air Quality Costs tab
Direct+Indirect Benefits-to-Cost Ratio | 2.6361
Simple Payback to Customer
Total Added Cost of Proposed Features | 4000
Annual Avoided Water Use per HVAC Cooling Tower(gal) | 252000
Combined Water and Sewer Rate ($/1,000 gal) | 14.4735 | See Water&Sewer Retail Cost Tab
Annual Water and Sewer Cost Savings to Customer | 3647.3114
Simple Payback to Customer (Years) | 1.0967

## BCA- Irrigation Controller
Cost Per Installation Irrigation System for WaterSense Irrigation Controller | Data | Basis, Sources, Notes
Current Code - Simple Controller | 97.31 | Average retail price information gathered by the District
Proposed Code - WaterSense Irrigation Controller | 148.76 | Average retail price information gathered by the District
Cost Per Installation of Proposed Change | 51.45 | Difference between product cost under the current code and proposed code
Annual Avoided Water Use per Landscape Irrigation System
Savings Factor from WaterSense Irrigation Controller | 15% | WaterSense Specification for Weather-Based Irrigation Controllers Supporting Statement, November 3, 2011; Used weather-based as conservative assumption because it saves less than moisture-based controller
Annual Landscape - Simple Controller | 50500 | Used latest data on average outdoor water use for homes that actively irrigation from WaterSense Specification for Soil-Based Irrigation Controllers Supporting Statement, February 2021
Annual Landscape Irrigation with WaterSense Irrigation Controller | 42925
Annual Avoided Water Use per Installation (gal) | 7575
Assumptions for Present Value Calculations |  | Basis, Sources, Notes
Product Useful Life | 15 | WaterSense Specification for Weather-Based Irrigation Controllers Supporting Statement, November 3, 2011
Discount Rate | 3% | Rate used by federal government in cost-benefit analysis when cost of regulation affects household consumption. See OMB's Circular A-4.
Benefits per Home Irrigation System | Present Value
Avoided H20 Capacity Cost | 89.4473 | See H20 Capacity Cost Tab
Avoided H20 Variable Production Cost | 58.8306 | See H20 Variable Production Cost tab
Direct Benefits-to-Cost Ratio | 2.882
Avoided H20 Embedded C02 Emissions Cost | 8.2171 | See H20 Embedded C02 Emissions tab
Avoided Air Quality Costs | 3.7118 | See Air Quality Costs tab
Direct+Indirect Benefits-to-Cost Ratio | 3.1138
Simple Payback to Customer
Cost Per Home Irrigation System of Proposed Change | 51.45
Annual Avoided Water Use per Installation (gal) | 7575
Combined Water and Sewer Rate ($/1,000 gal) | 14.4735 | See Water&Sewer Retail Cost Tab
Annual Water and Sewer Cost Savings to Customer | 109.6364
Simple Payback to Customer (Years) | 0.46928

## BCA-Sprinkler Bodies
Cost Per Home Irrigation System for Sprinkler Bodies | Data | Basis, Sources, Notes
Current Code - Sprinkler Bodies without Pressure Regulation | 3.05 | Average retail price information gathered by the District
Proposed Code - Sprinkler Bodies with Pressure Regulation | 5.33 | Average retail price information gathered by the District
Increased Cost Per Sprinkler Body | 2.28 | Difference between product cost under the current code and proposed code
Average # of Sprinkler Bodies per System | 25 | WaterSense Specification for Spray Sprinkler Bodies Supporting Statement, September 21, 2017
Cost Per Home Irrigation System of Proposed Change | 57
Annual Avoided Water Use per Home Irrigation System
Water Pressure Range | 60+ | Georgia water loss audit data show average operating pressures in region frequently over 70 psi
Percentage Savings Based on Water Pressure | 23% | WaterSense Specification for Spray Sprinkler Bodies Supporting Statement, September 21, 2017
Annual Landscape Irrigation without Pressure Regulation | 42925 | WaterSense Specification for Spray Sprinkler Bodies Supporting Statement, September 21, 2017 less savings from Soil Moisture-Based Irrigation Controller
Annual Landscape Irrigation with Pressure Regulation | 33052.25
Annual Avoided Water Use per Household (gal) | 9872.75
Assumptions for Present Value Calculations |  | Basis, Sources, Notes
Product Useful Life | 5 | WaterSense Specification for Spray Sprinkler Bodies Supporting Statement, September 21, 2017
Discount Rate | 3% | Rate used by federal government in cost-benefit analysis when cost of regulation affects household consumption. See OMB's Circular A-4.
Benefits per Home Irrigation System | Present Value
Avoided H20 Capacity Cost | 116.5796 | See H20 Capacity Cost Tab
Avoided H20 Variable Production Cost | 22.7011 | See H20 Variable Production Cost tab
Direct Benefits-to-Cost Ratio | 2.4435
Avoided H20 Embedded C02 Emissions Cost | 3.5699 | See H20 Embedded C02 Emissions tab
Avoided Air Quality Costs | 1.6125 | See Air Quality Costs tab
Direct+Indirect Benefits-to-Cost Ratio | 2.5344
Simple Payback to Customer
Cost Per Home Irrigation System of Proposed Change | 57
Annual Avoided Water Use per Household (gal) | 9872.75
Combined Water and Sewer Rate ($/1,000 gal) | 14.4735 | See Water&Sewer Retail Cost Tab
Annual Water and Sewer Cost Savings to Customer | 142.8928
Simple Payback to Customer (Years) | 0.3989

## H20 Capacity Cost
Major Water Utilities* | Approximate Population Served** | Capacity Fee - New 5/8 Inch Connection | Source
City of Cartersville | 24800 | 1745 | Only shows 3/4-inch, "Capacity Fee" - 2018 Water & Sewer Service Connection Charges
Douglasville-Douglas County Water and Sewer Authority | 141800 | 1250 | "Tap-on Fee" - Water and Sewer Rates and Charges effective Dec. 1, 2017
Fulton County | 437000 | 1175 | "System Capacity Fee" - Water and Sewer Serve Fees Rate Schedule
Gwinnett County | 944100 | 1128 | "System Development Charges" - 2021 Water and Sewer Rate Resolution
Rockdale County | 85200 | 1400 | "Water Capital Cost Recovery Fee" - Resolution-R-2019-06
Weighted Average | 1632900 | 1174.7356
*Systems that do not clearly indicate their tap or connection fees are intended to pay for system capacity are excluded from this list.
Also, if it appears the cost of the meter or installations costs are included in a single number with the capacity fee, then these water systems have also been excluded.
**Population numbers are from water loss audits submitted to the sate
SF Residential Water Use
Persons per household | 2.66
GPCD - Total Water Use (Table 4-4) | 64
GPHD - Total Water Use | 170.24
Regional Peaking Factor | 1.6
Peak GPHD | 272.384
Water Capacity Value - $ per gallon of capacity | 4.31

## H20 Variable Production Cost
Large Utilities without Significant Water Imports | Approximate Population Served | Variable Production Costs
City of Cartersville | 24800 | 0.00017 | $/gal
Cherokee County Water and Sewerage Authority | 189500 | 0.00027 | $/gal
City of Canton | 16400 | 0.00048 | $/gal
Clayton County Water Authority | 289600 | 0.00053 | $/gal
Newnan Utilities | 50000 | 0.00043 | $/gal
DeKalb County | 743000 | 0.00033 | $/gal
Douglasville-Douglas County Water and Sewer Authority | 141800 | 0.00038 | $/gal
Fayette County | 77100 | 0.00046 | $/gal
City of Cumming | 60400 | 0.00044 | $/gal
Fulton County | 437000 | 0.00065 | $/gal
Gwinnett County | 944100 | 0.00024 | $/gal
City of Gainesville | 155400 | 0.0005 | $/gal
Henry County Water Authority | 218700 | 0.00034 | $/gal
Rockdale County | 85200 | 0.00076 | $/gal
Weighted Average | 3433000 | 0.00038648 | $/gal
Source: Population and variable product costs data is from the average from water loss auidt data submitted to the state
| 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038
Impelmentation Year | -1 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
Projected Future Price ($/gal) | 0.00040728 | 0.00042919 | 0.00045228 | 0.00047661 | 0.00050225 | 0.00052927 | 0.00055775 | 0.00058776 | 0.00061938 | 0.0006527 | 0.00068782 | 0.00072482 | 0.00076382 | 0.00080491 | 0.00084821 | 0.00089385 | 0.00094194
Average water rate increase from 2008 to 2018 listed in 2019 AWWA/Raftelis 2019 Water and Wastewater Rate Survey, Chart 5 | 1: 2008
|  |  | 2010 | 13%
|  |  | 2012 | 13.7%
|  |  | 2014 | 10.3%
|  |  | 2016 | 9.6%
|  |  | 2018 | 7.2%
|  |  | Annual Average | 5.38%

## Water&Sewer Retail Cost
Single-Family Residential 2021 Water and Sewer Retail Rates - Using 2nd Tier of Water Rates
Large Utilities without Significant Water Imports | Approximate Population Served | Water ($/1000) | Sewer ($/1000) | Combined ($/1000)
Cherokee County Water and Sewerage Authority | 189500 | 5.4 | 7.15 | 12.55
City of Canton | 16400 | 6.67 | 9.84 | 16.51
Clayton County Water Authority | 289600 | 6.24 | 6.63 | 12.87
Newnan Utilities | 50000 | 6.22 | 8.27 | 14.49
DeKalb County | 743000 | 3.08 | 11.34 | 14.42
Douglasville-Douglas County Water and Sewer Authority | 141800 | 6.23 | 8.384 | 14.614
City of Cumming | 60400 | 2.97 | 6.84 | 9.81 | Atlanta Water
Fulton County | 437000 | 4.63 | 8.82 | 13.45 | 5.34 | 1 CCF / 748 gals
Gwinnett County | 944100 | 7.935 | 8.63 | 16.565 | Atlanta Sewer
City of Gainesville | 155400 | 3.16 | 9.88 | 13.04 | 13.64 | 1 CCF / 748 gals
Henry County Water Authority | 218700 | 6.76 | 6.76 | 13.52 | 18.2353 | 1000 gals
Weighted Average | 3245900 | 5.572 | 8.9014 | 14.4735 | Gainesville Water (Inside)
[5 empty] | 3.16 | 1 CCF / 748 gals
Note - Used same Utilities as Variable Production Cost (except those without web accessible rate data) |  |  |  |  | 4.2246 | 1000 gals
Gainesville Sewer (Inside)
[5 empty] | 7.39 | 1 CCF / 748 gals
[5 empty] | 9.8797 | 1000 gals

## Natural Gas Retail Cost
Retail Gas Costs
Provider | $/Therm
Constellation | 0.829
Fuel Georgia | 0.73
Gas South | 0.65
Town Square Energy | 0.599
Georgia Natural Gas | 0.679
SCANA | 0.629
Stream Energy | 0.408
True Natural Gas | 0.57
Walton EMC Natural Gas | 0.669
Xoom Energy | 0.399
Average | 0.6162
Georgia Public Service Commission - Filed Rates from September 2021 Pricing Chart - Standard Plans (12 months)
psc.ga.gov/site/assets/files/6263/september_2021_fixed_pricing.pdf
| 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038
Implementation Year | -1 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
Projected Future Retail Price - $/therm | 0.63134 | 0.64685 | 0.66275 | 0.67903 | 0.69571 | 0.71281 | 0.73032 | 0.74826 | 0.76665 | 0.78549 | 0.80478 | 0.82456 | 0.84482 | 0.86557 | 0.88684 | 0.90863 | 0.93096
Average annual price increase from most recent 10-year history of CPI Consumer Price Index for All Urban Consumers: Utility (Piped) Gas Service in Atlanta-Sandy Springs-Roswell, GA | 2: 2.457%

## Electricity Retail Cost
Retail Electricity Cost - GPC Residential $ / kWh | 0.064
Assumes average customer is being charged the third tier rate in summer and winter with household usage above 1,000 kWh. Used Georgia Power because it services the most customers in metro Atlanta
| 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038
Implementation Year | -1 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
Projected Future Retail Price - $/kWh | 0.064794 | 0.065597 | 0.06641 | 0.067234 | 0.068068 | 0.068912 | 0.069766 | 0.070631 | 0.071507 | 0.072394 | 0.073291 | 0.0742 | 0.07512 | 0.076052 | 0.076995 | 0.07795 | 0.078916
Average annual price increase based on Georgian (all utilities) retail price data from 2010 to 2018 as reported by an S&P Global Market Intelligence Report | 5: 1.24%

## CO2 Emission Costs
Social Cost of Carbon Estimate | Value | Notes
Present Value $ / Metric Ton C02 at 5% Discount Rate | 51 | See Technical Support Document: Social Cost of Carbon, Methane, and Nitrous Oxide Interim Estimates under Executive Order 13990
Metric Tons C02 per Therm | 0.0053 | This value is derived from the EPA's Greenhouse Gases Equivalencies Calculator available at https://www.epa.gov/energy/greenhouse-gases-equivalencies-calculator-calculations-and-references
Metric Tons C02 per kWh | 0.000709 | This value is derived from the EPA's Greenhouse Gases Equivalencies Calculator available at https://www.epa.gov/energy/greenhouse-gases-equivalencies-calculator-calculations-and-references
H20 Embedded Electricity Usage
Sourcing & Conveyance (Min) kWh/MG | 200 | Used minimum because District does not import water from far away, which avoids
Treatment (Mean) kWh/MG | 1100
Distribution (Mean) kWh/MG | 700
Total (kWh/MG) | 2000
Total (kWh/gallon) | 0.002
Source: A Survey of Energy Use in Water Companies, An ACEE White Paper, Rachel Young, June 2015.

## Air Quality Costs
Air Quality Costs from Emissions
Cost of PM 2.5 Emissions $/kwh - Summer Time | 0.031
Cost of Ozone (O3) Emissions $/kWh - Summer Time | 0.018
Total $kWh - Summer Time | 0.049
Total $/kWh - Annualized | 0.016333 | Assumes summer is June through September
Source: Based on value of a statistical life and premature mortality calculations for energy efficiency from "Air Quality-Related Health Benefits of Energy Efficiency in the US" Abel et. al, Journal of Environmental Science and Technology, 2019, 53, 3987-3998